## Slide 1
SPACE COOLING: BUILDING SECTOR & ENERGY EFFICIENCY
Presented at:
Stakeholder Consultation on Development of a National Cooling Action Plan for India 17 January, 2018

## Slide 2: National Cooling Action Plan: Context
In July, 2017 Ministry of Environment, Forest & Climate Change (MoEFCC), Government of India announced a Strategy Group to develop the NCAP
Envisioned as a multi-year plan to provide thermal comfort to all the citizens in a cost-effective manner, with minimum impacts on the power sector and environment
Approach will be to integrate all cooling efforts in the areas of technology, manufacturing, efficiency and environmental considerations

## Slide 3: Unique Aspects of the NCAP
Recognises the role of a multi-pronged strategy including reduction of Cooling load
Aspires to lay out a cooling strategy that includes actions beyond mere transition in the technology and process of RAC
Harmonisation between Energy Efficiency and phase-out of ODS gases and phase-down of HFCs
Positions Business and Technology as central to the development of a robust Cooling Action Plan for India

## Slide 4: Alignment with AEEE’s Strategic Priority to Address Space Cooling
AEEE’s subject-matter expertise in Cooling: Unprecedented work with important ramifications
  Psychrometric field tests of RACs to their energy performance at different temperature setpoints
  First-of-its-kind comprehensive overview of nationwide cooling demand by sector
  Nationwide survey to understand the residential RAC usage pattern
  Catalyzing the formation of Smart and Sustainable Space Cooling Coalition to lead India’s transition to a responsibly cooled built environment
Government’s focus to establish access to cooling as a national priority is synchronous with AEEE’s drive to enable sustainable and accessible thermal comfort for all

## Slide 5: Leveraging the strength of the Sustainable and Smart Space Cooling Coalition
Sustainable and Smart Space Cooling Coalition (SSSCC) is a confluence of research, academic and industry organizations, with a mission to lead India’s transition to a responsibly cooled built environment by advancing research and policy recommendations, and enabling market transformation.
Coalition’s opening task: THERMAL COMFORT FOR ALL (TCA) REPORT
AGGREGATES current body of knowledge, potential challenges, and the wide-ranging benefits
PROPOSES RECOMMENDATIONS designed to promote the vision of thermal comfort for all

## Slide 6: Foundational to AEEE Approach: Understanding Comfort Cooling in India
Cooling a developing country like India is not the same as cooling in a developed nation.
  AC penetration 5-10%, versus 100+% in developed countries
  Prevalent alternative cooling technologies significantly high in volume: significantly lower kWh/unit; zero refrigerant use
Majority of ACs and refrigerant volume is yet to come
  Unique opportunity to address the very root of the problem, by minimizing the demand for cooling
Conversation about cooling need to be all-encompassing: active air conditioning + alternative cooling strategies
  We will not get to a point - even in the next 15 years – where majority can afford ACs

## Slide 7: Points of Alignment with NCAP
In the light of significant increase (~3X) in building area by 2030 (from2010), India needs to build-in interventions to reduce the cooling demand itself
Even if the Montreal Protocol is more focused on refrigerants based cooling, it Is in India’s interest to adopt a holistic approach to Cooling in order to meet its Sustainable Development Goals, to both mitigate and adapt to Climate Change while ensuring Thermal Comfort for All

## Slide 8: WHY Building Sector is so significant!
Chart: 2015: Total equipment sales of 19 million TR
| Domestic refrigeration | Commercial refrigeration | Industrial refrigeration | Transport refrigeration | Residential air-conditioning | Commercial air-conditioning | Mobile air-conditioning
 | 2.39 | 3.8 | 0.45 | 0.52 | 6.14 | 1.76 | 3.58
Chart: 2030: Total equipment sales of 92 million TR
| Domestic refrigeration | Commercial refrigeration | Industrial refrigeration | Transport refrigeration | Residential air-conditioning | Commercial air-conditioning | Mobile air-conditioning
 | 10.89 | 15.84 | 1.39 | 0.52 | 36.24 | 11.11 | 15.84
(Source: CSE and cBalance)
Buildings and mobile air-conditioning dominate India’s cooling demand – at ~2/3rd of the total; refrigeration at ~1/3rd
Building sector AC projected to grow from 43% to 51% of total cooling and refrigeration demand by 2030

## Slide 9: Potential Impact: Keeping Our Buildings Cool
Chart: RAC stock (million)
| 2015.0 | 2016.0 | 2017.0 | 2018.0 | 2019.0 | 2020.0 | 2021.0 | 2022.0 | 2023.0 | 2024.0 | 2025.0 | 2026.0 | 2027.0 | 2028.0 | 2029.0 | 2030.0
IESS 2047 | 40 | 90 | 140
LBNL (2016) | 24 | 38 | 69 | 124
CEEW (2015) | 18 | 21.01 | 24.4415 | 28.4336 | 33.0781 | 38.4814 | 42.3553 | 46.6217 | 51.3206 | 56.4961 | 62.1967 | 68.2977 | 75.0002 | 82.3636 | 90.4534 | 99.3414
AEEE (2017): Efficient scenario | 32.84 | 34.96 | 36.94 | 39.08 | 41.1 | 43.73 | 46.903 | 50.5573 | 54.517 | 59.1027 | 64.382 | 70.3902 | 77.0212 | 84.6284 | 92.9152 | 102.2067
AEEE (2017): Super-efficient scenario | 1
Multiple studies unanimously project a significant increase the RAC stock
Expected emissions from RACs alone would pose challenge for efforts to reduce refrigerants (Source: TERI)

## Slide 10: COOLING THE BUILDING SECTOR PRELIMINARY FINDINGS (Based on AEEE research: Work-in-progress cooling demand analysis)

## Slide 11: 2017 Scenario: Space Cooling in Buildings
Chart: Annual energy consumption = 134 TWh
| Non-refrigerant based cooling (fan and air cooler) | Refrigerant based cooling (RAC, chiller, packaged DX, VRV)
 | 57 | 77

## Slide 12: 2017 Scenario: Air-conditioning in Buildings
Chart: 
| Packaged DX | VRV (Mini to Large) | Chiller | RAC
 | 3.5 | 7.9 | 12.9 | 53
Chart: 
| Packaged DX | VRV (Mini to Large) | Chiller | RAC
 | 3.2 | 7 | 10.8 | 61
Annual carbon emission
82 million tCO2e
Annual energy consumption
77 TWh

## Slide 13: 2027 (BAU) Scenario: Air-conditioning in Buildings
Chart: 
| Packaged DX | VRV (Mini to Large) | Chiller | RAC
 | 3.8 | 30 | 27.3 | 97
Chart: 
| Packaged DX | VRV (Mini to Large) | Chiller | RAC
 | 3.5 | 26 | 27 | 103
Annual carbon emission
160 million tCO2e
Annual energy consumption
158 TWh

## Slide 14: 2017 and 2027 (BAU) Scenarios: RAC Penetration in the Residential Sector
2017 |  | 
RAC stock | 37 million units | Compiled from sales data
RAC stock deployed in residences | 22 million units | @60%; sourced from LBNL and AEEE’s own estimates
# of Households | 268 million | Extrapolated from Census data
# of RACs per household | 1.2 | Prayas (2012)
RACs penetration | 7% | 
2027 (BAU) |  | 
RAC stock | 77 million units | Estimated from sales projections
RAC stock deployed in residences | 54 million units | @70%; based on stakeholder input
# of Households | 296 million | Extrapolated from Census data
# of RACs per household | 1.2 | Prayas (2012)
RACs penetration | 15% | 

## Slide 15: Looking ahead: 34% energy saving is possible under Improved Scenario
Chart: Annual Energy Consumption (TWh)
| Packaged DX | VRV (Mini to Large) | Chiller | RAC
2027 (improved scenario) | 3.6 | 28.5 | 24.8 | 47
2027 (current level of effort) | 3.8 | 30 | 27.3 | 97
2017 | 3.5 | 7.9 | 12.9 | 53

## Slide 16: Looking ahead: 36% carbon saving is possible under Improved Scenario
Chart: Carbon emission (million tCO2e)
| Packaged DX | VRV (Mini to Large) | Chiller | RAC
2027 (improved scenario) | 3.3 | 25 | 22 | 52
2027 (current level of effort) | 3.5 | 26 | 27 | 103
2017 | 3.2 | 7 | 10.8 | 61

## Slide 17: RAC Analysis: Key Results
 | 2017 | 2027 (BAU) | 2027 (Improved)
Installed capacity (million TR) | 56 | 116 | 113
Annual energy consumption (TWh) | 53 | 97 | 46
Indirect emissions (mtCO2e) [share of total] | 43 [71%] | 79 [77%] | 38 [73%]
Direct emissions (mtCO2e) [share of total] | 18 [29%] | 24 [23%] | 14 [27%]
Total emissions (mtCO2e) | 61 | 103 | 52

## Slide 18: Improved Scenario
Improved Scenario incorporates:
Technology improvements
Efficient building strategies
Market interventions
Operations interventions
Behavioural changes
Alternate refrigerants
Better servicing practices
  RAC
  Ratcheting up the ISEER of RACs: Equipment efficiency can have the strongest impact in the Improved Scenario
  Envelope improvements in upcoming buildings that should reduce the need for active space cooling: While the envisioned reduction in the total installed capacity is not large, the more significant reduction manifests in terms of reduction in run hours (due to increased uptake of code and Adaptive Thermal Comfort), which could be between 20% to 30% per our analysis
  Chiller
  Better O&M practices with focus on two important aspects: HVAC O&M being a specialist’s job, is better handled by trained HVAC engineers and technicians rather than generalists; utilization of Internet of Things (IoT) in day to day operations
  Better uptake of ECBC-2017: More buildings crossing the minimum ECBC compliance and even achieving ECBC EE and Super ECBC requirements

## Slide 19: THE PATH FORWARD

## Slide 20: Need For Integrated Solutions: Whole is Greater Than The Sum of Parts
DIMINISH THE NEED FOR ACTIVE AIR CONDITIONING: Energy efficiency policies as a lever; leveraging Codes (ECBC and ECBC-R) and S&L to reduce cooling demand; reduce direct and indirect emissions
ADVANCE COOLING TECHNOLOGIES: Efficiency improvement of ACs; alternative low-energy & non-refrigerant based cooling technologies; R&D to advance alternative cooling strategies
MARKET TRANSFORMATION: Behavioral shifts – adaptive thermal comfort; modify perceptions; Demand Response in conjunction with IoT strategies; financial & non financial tools to advance implementation
Hierarchical strategies and solutions – covering all three aspects - will multiply the positive impact & benefits

## Slide 21: The ACTIONABLES
DIMINISH THE NEED FOR ACTIVE AIR CONDITIONING
ADVANCED & EFFICIENT COOLING TECHNOLOGIES
MARKET TRANSFORMATION
REGULATIONS
TECHNICAL CAPABILITIES
FISCAL/ MARKET MECHANISMS
Smart space cooling strategies, achieved through a combination of regulatory requirements & framework, technical capabilities, and fiscal & non-fiscal mechanisms, working in alignment, will:
reduce the electricity required for cooling buildings by 45-50% (LBNL; AEEE)
Significantly reduce refrigerant phase-in of the building sector
PRIMARY ACTIONABLES

## Slide 22: Actionables: Strategic Focus
Establish ‘thermal-comfort-for-all’ as a government priority to align with GHG reduction goals and ongoing government initiatives:
Leverage ongoing government initiatives and integrate smart cooling strategies, to maximize potential benefits
Institute comprehensive legislation as a cornerstone to achieve a viable market for smart cooling
Constitution of a collaborative R&D platform and a robust innovation eco-system to promote sustainable and smart cooling strategies
Include focus on service sector improvements
REGULATIONS
TECHNICAL CAPABILITIES
FISCAL/ MKT MECHANISMS

## Slide 23: Actionables: Strategic Focus
Drive adoption of energy efficient building materials into mainstream through consistent testing and rating protocols, and market transformation strategies
Undertake bold actions to phase out HFCs and drive the industry towards low GWP and green refrigerants
Generate market momentum towards smart cooling through awareness campaigns, access to information and technical assistance
REGULATIONS
TECHNICAL CAPABILITIES
FISCAL/ MKT MECHANISMS
FISCAL/ MKT MECHANISMS
REGULATIONS
FISCAL/ MKT MECHANISMS

## Slide 24: Summary: Key Takeaways
With significant growth on the horizon, the building sector becomes an important part of the solution in addressing India’s cooling needs. India needs to build-in interventions to reduce the cooling demand itself.
While the Montreal Protocol is more focused on refrigerants based cooling, it is in India’s interest to adopt a holistic approach to Cooling under the NCAP.
Conversation about cooling in India need to be all-encompassing: active air conditioning + alternative cooling strategies.

## Slide 25: satish@aeee.in sneha@aeee.in

## Slide 26: APPENDIX

## Slide 27: Specific Tasks
Leverage initiatives such as Housing for All to develop sustainably cooled ‘Demonstration Projects’ in a few sites, piloting low-energy as well as clean energy cooling solutions. | 
Facilitate R&D for low-energy as well as clean energy cooling technologies. | 
Establish design guidelines based on Lean cooling strategies as a mandatory minimum standard for all new construction. | 
Establish policy frameworks and incentives to enable DISCOMS to implement a Demand Response (DR) and variable ToU programs targeted at cooling load reduction | 
Enforce stringent standards and labelling program for cooling equipment; develop mandatory standards and labeling programs for all ceiling fans, as well as for VRFs and chillers. | 
Make ECBC implementation mandatory in all states and ensure compliance through governance. | 
Establish policy to create state-level financial facilities for low-cost/preferential line of credit to real estate projects with a demonstrably high cooling efficiency. | 

## Slide 28: Specific Tasks
MNRE should consider providing financial support and structuring performance based incentives for distributed generation and clean energy technologies. | 
Create consumer awareness through campaigns that focus on promoting and cultivating energy conserving behavior in space cooling. | 
Drive adoption of energy efficient building materials and equipment into mainstream through consistent testing and rating protocols, and market transformation strategies. | 
Government of India should come out with an evaluation framework for rating refrigerants keeping in mind all the key criteria, to send a clear and strong signal to manufacturers and safeguarding the interest of its citizens and the environment. | 
Encourage R&D on low GWP and green refrigerants., ensuring all safety and EE requirements are being met. | 
Design upstream incentive programs to accelerate the phase out HFCs. |