## Slide 1: Safety Standards for natural refrigerants
Centre for Science and Environment
— Chandra Bhushan

## Slide 2
SAFETY IS AN ENGINEERING CHALLENGE

## Slide 7: Potential of Naturals
Sector | Natural Alternatives | Percentage Potential
Domestic Refrigeration | R600a | 100%
Commercial Refrigeration | CO2, R600a, Ammonia | 100%
Industrial Refrigeration | Ammonia, R290 | 100%
Transport Refrigeration | None available | 0%
Residential AC | R290 | 90%
Commercial AC | Ammonia | 50%
MAC | None available | 0%
Total Potential | 77% of India’s RAC sector can be converted to naturals by using currently available technologies | 

## Slide 8: Why naturals refrigerants are not being widely used?
Fear around safety concerns
Restrictive safety standards
Centre for Science and Environment

## Slide 9
Centre for Science and Environment

## Slide 10
Centre for Science and Environment

## Slide 11: Reduced released mass
Retained mass
Released mass
Use gas sensors or system working parameters to detect leak
Possible charge size limit:
M = retained + released
Standard currently assumes entire charge leaks from system
Many experiments shown this is not the case
Under normal condition, some refrigerant remains in circuit and oil
If valves are used, substantial proportion of refrigerant retained in system

## Slide 12
Centre for Science and Environment

## Slide 13: Amending international standards
Long drawn process – discussions taking place for the past 6-7 years, without any movement forward.
An amendment is currently being considered by a working group set up to review the IEC 60335-2-40 (air conditioners and heat pumps) for the use of flammable refrigerants. But this has been stalled.
Another amendment is being considered to IEC 60335-2-89 to increase maximum allowable charge size of flammable refrigerants in commercial refrigeration from the current 150 grams to 500 grams, when accompanied by added safety measures and appropriate labelling.
Potentially drawn-out process ahead. In the meantime development and innovation suffers
Centre for Science and Environment

## Slide 14: Why develop national standards for natural refrigerants?
India faces a number of barriers related to standards for HCs. As India does not have a standard for room ACs, Indian HC Air Conditioner manufacturer has followed “restrictive” international standard (EN378) for its Split ACs using HC-290.
It is important for India and other countries of South Asia to amendments to IS 5149 & IEC 60335-2-40 to make them flexible and innovative for safe use of hydrocarbons.
This is the only way we can move to “Future-proof” transition and avoid another chemical treadmill with monopoly
Centre for Science and Environment